## page 1
| Артикул | Наименование | Монтаж D= DIN-рейка P= панель
Product group 1 Power Supplies (Источники питания)
Switching power supplies (Импульсный источник питания) - Input 115–230 Vac
| DFX1512A | Switching Power supply Output: 12Vdc 1A Input: 115 - 230 Vac | D/P
| DFX4512A | Switching Power supply Output: 12Vdc 3A Input: 115 - 230 Vac | D/P
| DFX6012A | Switching Power supply Output: 12Vdc 6A Input: 115 - 230 Vac | D/P
| DFX1524A | Switching Power supply Output: 24Vdc 0.5A Input: 115 - 230 Vac | D/P
| DFX4524A | Switching Power supply Output: 24Vdc 1.75A Input: 115 - 230 Vac | D/P
| DFX6024A | Switching Power supply Output: 24Vdc 3A Input: 115 - 230 Vac | D/P
Switching power supplies - Input 115–230 Vac
| FLEX6005A | Switching Power supply Output: 5Vdc 5A Input: 115 - 230 Vac | D
Switching power supplies - Input 115–230 Vac
| FLEX6012A | Switching Power supply Output: 12Vdc 6A Input: 230 Vac | D
| FLEX17012A | Switching Power supply Output: 12Vdc 14A Input: 230 Vac | D
| FLEX28012A | Switching Power supply Output: 12Vdc 20A Input: 230 Vac | D
Switching power supplies - Input 115–230 Vac
| FLEX6024A | Switching Power supply Output: 24Vdc 3A Input: 115 - 230 Vac | D
| FLEX9024A | Switching Power supply Output: 24Vdc 5A Input: 115 - 230 Vac | D
| FLEX17024A | Switching Power supply Output: 24Vdc 7,5A Input: 115 - 230 Vac | D
| FLEX28024A | Switching Power supply Output: 24Vdc 14A Input: 115 - 230 Vac | D
| FLEX50024A | Switching Power supply Output: 24Vdc 25A Input: 115 - 230 Vac | D
Switching power supplies - Input 230-400–500 Vac 2 and 3 Phase
| FLEX9024B | Switching Power supply Output: 24Vdc 5A (2 Phase) | D
| FLEX17024B | Switching Power supply Output: 24Vdc 7,5A (2 Phase) | D
| FLEX28024B | Switching Power supply Output: 24Vdc 14A (2 Phase) | D
| FLEX50024B | Switching Power supply Output: 24Vdc 25A (3 Phase) | D
Switching power supplies - Input 115–230 Vac
| FLEX17048A | Switching Power supply Output: 48Vdc 3,8 A Input: 115 - 230 Vac | D
| FLEX28048A | Switching Power supply Output: 48Vdc 7,5 A Input: 115 - 230 Vac | D
| FLEX50048A | Switching Power supply Output: 48Vdc 12,5 A Input: 115 - 230 Vac | D
PST
Switching power supplies - Input 400–480 Vac 3-Phase
| PST2440B | Switching Power supply Output: 24Vdc 40A | D
"PST series" Switching power supplies - Input 400–480 Vac 3-Phase (Driver Applications)
| PST4810B | Switching Power supply Output: 48Vdc 10A - 35A max. | D
SW
AC / DC and DC / DC Converters "Not Isolated" - Low Voltage Input AC or DC 24 V
| SW 053LC | Switching Power supply Output: 5Vdc 3 A | D
| SW 103LC | Switching Power supply Output: 10Vdc 3 A | D
| SW 125HP | Switching Power supply Output: 12Vdc 5 A | D
| SW 243LC | Switching Power supply Output: 24Vdc 3 A | D
| SW 245HP | Switching Power supply Output: 24Vdc 5 A | D
| SW 247HP | Switching Power supply Output: 24Vdc 7 A | D
| SW 245HP/48 | Switching Power supply Output: 24Vdc 3A - Input 48Vdc | D
AC/Dc and DC/DC Converters "Not Isolated"- Low Voltage Input Ac or DC- Adjustable output Vdc +/-10%
Input: 24V
| PFAL2410 | Switching Power supply Output:24Vdc 10A | D
| PFAL2420 | Switching Power supply Output:24Vdc 20A | D
Input: 48V
| PFAL2420/48 | Switching Power supply Output:24Vdc 15A - Input 48Vdc | D
Input 6-28Vac/8-39Vdc
| PFALVP3 | Vout Adjustable from 1.25 - 27 Vdc 2 A | D
Switching power supplies - Input 115–230 Vac
| SCM4012A | Switching Power supply Output: 12Vdc 3.5 A Input: 115 - 230 Vac | P
| SCM7512A | Switching Power supply Output: 12Vdc 6.3 A Input: 115 - 230 Vac | P
| SCM10012A | Switching Power supply Output: 12Vdc 8.5 A Input: 115 - 230 Vac | P
| SCM4024A | Switching Power supply Output: 24Vdc 1.8 A Input: 115 - 230 Vac | P
| SCM7524A | Switching Power supply Output: 24Vdc 3.2 A Input: 115 - 230 Vac | P
| SCM10024A | Switching Power supply Output: 24Vdc 4.5 A Input: 115 - 230 Vac | P
SUP
STEP-UP DC/DC Converters "Not Isolated"- Low Input Vdc- Adjustable output Vdc +/-10%
Input: 12V
| SUP3-1224 | STEP-UP Dc/Dc ing. 12V out. 24V 3A | D
| SUP6-1224 | STEP-UP Dc/Dc ing. 12V out. 24V 6A | D
Input: 12V
| SUP3-1230 | STEP-UP Dc/Dc ing. 12V out. 30V 3A | D
Input: 12V
| SUP3-1240 | STEP-UP Dc/Dc ing. 12V out. 40V 3A | D
Input: 24V
| SUP3-2448 | STEP-UP Dc/Dc ing. 24V out. 48V 3A | D
| SUP6-2448 | STEP-UP Dc/Dc ing. 24V out. 48V 6A | D
Input: 24V
| SUP3-2460 | STEP-UP Dc/Dc ing. 24V out. 60V 2,5A | D
| SUP6-2460 | STEP-UP Dc/Dc ing. 24V out. 60V 6A | D
DC/DC Converters "Isolated"- Low Voltage Input DC to DC - Adjustable output Vdc +/-10%
Input 12Vdc
| SUP30-12/24 | Switching Power supply Input 10 - 18 Vdc Output: 24 Vdc 1.3 A | P
| SUP50-12/12 | Dc/Dc Converter Input 10 - 15 Vdc Output: 12 Vdc 4.2 A (Isolated) | P
| SUP50-12/24 | Switching Power supply Input 10 - 18 Vdc Output: 24 Vdc 2.1 A | P
Input 24Vdc
| SUP30-24/24 | Switching Power supply Input 18 - 36 Vdc Output: 24 Vdc 1.3 A | P
| SUP50-24/24 | Switching Power supply Input 10 - 18 Vdc Output: 24 Vdc 2.1 A | P
| SUP70-24/24 | Switching Power supply Input 18 - 36 Vdc Output: 24 Vdc 3 A | P
| SUP100-24/24 | Switching Power supply Input 18 - 36 Vdc Output: 24 Vdc 4.2 A | P
| SUP200-24/24 | Switching Power supply Input 18 - 36 Vdc Output: 24 Vdc 8.4 A | P
Input 48Vdc
| SUP30-48/24 | Switching Power supply Input 36 - 72 Vdc Output: 24 Vdc 1.3 A | P
| SUP70-48/24 | Switching Power supply Input 36- 72 Vdc Output: 24 Vdc 3 A | P
| SUP150-48/24 | Switching Power supply Input 36 - 72 Vdc Output: 24 Vdc 6.3 A | P
| SUP200-48/24 | Switching Power supply Input 36 - 72 Vdc Output: 24 Vdc 8.4 A | P
| SUP200-48/12 | Switching Power supply Input 36 - 72 Vdc Output: 12 Vdc 16.7 A | P
| DINSUP | Support for Din Rail "SUP Line" | D
DC-UPS - ALL IN ONE = Battery Charger + Continuity BackUp Module + Power Supply in one unit
Input 115-230-270 Vac
| CBI123A | DC-UPS Out 12 Vdc 3A In 115-230-277 Vac; for all Battery Tipes Lead Acid and NiCd; Temperature Compensation | D
| CBI126A | DC-UPS Out 12 Vdc 6A In 115-230-277 Vac; for all Battery Tipes Lead Acid and NiCd; Temperature Compensation | D
| CBI1210A | DC-UPS Out 12 Vdc 10A In 115-230-277 Vac; for all Battery Tipes Lead Acid and NiCd; Temperature Compensation | D
| CBI1235A | DC-UPS Out 12 Vdc 35A In 115-230-277 Vac; for all Battery Tipes Lead Acid and NiCd; Temperature Compensation; MODbus connection | D
| CBI1235AP | DC-UPS Out 12 Vdc 35A In 115-230-277 Vac; for all Battery Tipes Lead Acid and NiCd; Temperature Compensation;(parallel connection enabled) | D
Input 115–230-270 Vac
| CBI243A | DC-UPS Out 24 Vdc 3A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation | D
| CBI245A | DC-UPS Out 24 Vdc 5A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation | D
| CBI245ATB | DC-UPS Out 24 Vdc 5A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation;Time Buffering 5' | D
| CBI245ATB1 | DC-UPS Out 24 Vdc 5A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation;Time Buffering 0.5 | D
| CBI2410A | DC-UPS Out 24 Vdc 10A In 115-230-277 Vac; No Battery start-up; for all Type Lead Acid and NiCd battery; Temperature Compensation | D
| CBI2410ATB | DC-UPS Out 24 Vdc 10A In 115-230-277 Vac; No Battery start-up; for all Type Lead Acid and NiCd battery; Temperature Compensation; | D
| CBI2410A/S | DC-UPS Out 24 Vdc 10A In 115-230-277 Vac-Yes Battery start-up; for all Type Lead Acid and NiCd battery; Temperature Compensation | D
| CBI2420A | DC-UPS Out 24 Vdc 20A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation; MODbus connection | D
| CBI2420AP | DC-UPS Out 24 Vdc 20A In 115-230-277 Vac; for all Battery Tipes Lead Acid and NiCd; Temperature Compensation;(parallel connection enabled) | D
Input 115–230-270 Vac
| CBI485A | DC-UPS Out 48 Vdc 5A In 115-230-277 Vac; No Battery start-up; for all Type Lead Acid and NiCd battery; Temperature Compensation | D
| CBI485A/S | DC-UPS Out 48 Vdc 5A In 115-230-277 Vac; Yes Battery start-up; for all Type Lead Acid and NiCd battery; Temperature Compensation | D
| CBI4810A | DC-UPS Out 48 Vdc 10A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation; MODbus connection | D
| CBI4810AP | DC-UPS Out 48 Vdc 10A In 115-230-277 Vac; for all Type Lead Acid and NiCd battery; Temperature Compensation; parallel connection enabled | D
Input 115–230-270 Vac
| CBI2801224A | DC UPS Out 12-24 Vdc(selectable)280W In:115-230-277Vac Modbus | D
Input 230 - 400 - 500 Vac
| CBI2801224B | DC UPS Out 12-24 Vdc(selectable)280W In:230-400-500Vac Modbus | D
Accessories for CBI
| RTCONN | Connector for position 5 (Start from battery) with Two W ires (2 m)
| RJTEMP451 | Temperature compensation probe with connector 1m (For all CBI models except for CBI280)
| RJTEMP453 | Temperature compensation probe with connector 3m (For all CBI models except for CBI280)
| RJTEMP111 | Temperature compensation probe with RJ11 connector 1m (Specific for CBI2801224A and B)
| RJTEMP113 | Temperature compensation probe with RJ11 connector 3m (Specific for CBI2801224A and B)
| ERJ.CBI.004 | Paralleling Cable Connector RJ45/RJ45 1m (Suitable for CBI1235A,2420A,4810A and for Modbus connection on CBI280)
Demo Kit
| CBI demo Kit | Demonstrative panel composed of CBI2801224A, DPY351 and BAT1.2VRLA for Show room
Switching power supplies and Battery Charger - Input 115–230 Vac
| PSM123A | Out Load 13.8 V 3A; Battery 13.3; 0.1A | D
| PSM241A | Out Load 24 V 1.5 A; Battery 27 V ; 0.1A | D
Switching power supplies and Battery Charger - Input 115–230 Vac
| UPL5512A | Out Load 13.8 V 4 A; Battery 13.4 ; 0.23A | D
| UPL10012A | Out Load 13.8 V 6A; Battery 13.3; 0.5A | D
| UPL5524A | Out Load 27.6 V; 2A; Battery 26.5; 0.16A | D
| UPL10024A | Out Load 27.6 V 3A; 27.V; 0.5A | D
CB - Battery chargers. They Test and Recharge the battery Input 115–230-270 Vac
| CB123A | Battery Charger 3 Level Out 12 Vdc 3A In 115-230-277 Vac | D
| CB123A/48 | Battery Charger 3 Level Out 12 Vdc 3A In 48 Vdc | D
| CB1210A | Battery Charger 3 Level Out 12 Vdc 10A In 115-230-277 Vac | D
| CB1235A | Battery Charger 3 Level Out 12 Vdc 35A In 115-230-277 Vac | D
| CB243A | Battery Charger 3 Level Out 24 Vdc 3A In 115-230-277 Vac | D
| CB2410AC | Battery Charger 3 Level Out 24 Vdc 10A In 115-230-277 Vac | D
| CB2420A | Battery Charger 3 Level Out 24 Vdc 20A In 115-230-277 Vac | D
| CB304A | Battery Charger 3 Level Out 30 Vdc 3A In 115-230-277 Vac | D
| CB363A | Battery Charger 3 Level Out 36 Vdc 3A In 115-230-277 Vac | D
| CB12245A | Battery Charger 4 Level Out 12-24 Vdc(selectable)120W In:115-230-277Vac | D
| CB122410A | Battery Charger 4 Level Out 12-24 Vdc(selectable)270W In:115-230-277Vac | D
Product group 5 Battery Bank
VRLA Enclosure + Battery
| BATT 123 | 12 Vdc Battery 3.2Ah ( N.1 battery+Battery Chest) | P
| BATT 123DIN | 12 Vdc Battery 3.2Ah ( N.1 battery+Battery Chest) with DIN clip | D
| BATT 127 | 12 Vdc Battery 7.2Ah ( N.1 battery+Battery Chest) | P
| BATT 127DIN | 12 Vdc Battery 7.2Ah ( N.1 battery+Battery Chest) with DIN clip | D
| BATT 3.2Ah | 24 Vdc Battery 3.2Ah ( N.2 batteries+Battery Chest) | P
| BATT 3.2AhDIN | 24 Vdc Battery 3.2Ah ( N.2 batteries+Battery Chest) with DIN clip | D
| BATT 7.2Ah | 24 Vdc Battery 7.2Ah ( N.2 batteries+Battery Chest) | P
| BATT 7.2AhDIN | 24 Vdc Battery 7.2Ah ( N.2 batteries+Battery Chest) with DIN clip | D
Enclosure
| BATTHOLDER123 | Battery chest for battery 12V/3.2Ah - without battery | P
| BATTHOLDER123DIN | Battery chest for battery 12V/3.2Ah - without battery with DIN clip | D
| BATTHOLDER127 | Battery chest for battery 12V/7.2Ah - without battery | P
| BATTHOLDER127DIN | Battery chest for battery 12V/7.2Ah - without battery with DIN clip | D
| BATTHOLDER1212 | Battery chest for battery 12V/12Ah - without battery | P
Small VRLA Enclosure + Battery
| BAT1.2VRLA | 24 Vdc Battery 1.2Ah ( N.2 batteries+Battery Enclosure) DIN & W all mount | D/P
| BAT3.4VRLA | 24 Vdc Battery 3.2Ah ( N.2 batteries+Battery Enclosure) DIN & W all mount | D/P
| BAT7.2VRLA | 24 Vdc Battery 7.2Ah ( N.2 batteries+Battery Enclosure) DIN & W all mount | D/P
| BAT12VRLA | 24 Vdc Battery 12Ah ( N.2 batteries+Battery Enclosure) W all mount | P
Enclosure
| BTH1.2VRLA | 24 Vdc Battery Enclosure for N.2 batteries 12V/1.2Ah - without battery, DIN & W all mount | D/P
| BTH3.4VRLA | 24 Vdc Battery Enclosure for N.2 batteries 12V/3.4Ah - without battery, DIN & W all mount | D/P
| BTH7.2VRLA | 24 Vdc Battery Enclosure for N.2 batteries 12V/7.2Ah - without battery, DIN & W all mount | D/P
| BTH12VRLA | 24 Vdc Battery Enclosure for N.2 batteries 12V/12Ah - without battery, W all mount | P
SFP
| SFP544 | Panel for EN54.4 field. Can contain batteries VRLA from 1.2 up to 18Ah and all range of DC UPS "CBI" | P
Product group 6 Interfaces
MR Decoupler
| MR220 | Decoupling Module In - Out 10 - 60 Vdc 25A | D
Product group 7 Multimediality
Power Bus
| DPY351 | Display 3.5" to monitorin, managing ADEL System devices. Ethernet connection: SNMP and TCP/IP protocol communication | P